LIST OF APPROVED MAKES OF EQUIPMENT ( Electricals )UNLESS OTHERWISE SPECIFIED

### S.NO	DESCRIPTION	MAKE

1.	LT Panels 	CPRI type test passed vendor subject to approval by consultant and owner

- MCB Distribution Boards	Schneider electric/ L&T/Legrand

- Air Circuit Breakers	L&T/Schneider electric

- Moulded case Circuit Breaker	L&T /Schneider electric

- Miniature Circuit Breaker	Legrand / Schneider electric/ L&T

- Contactors and starters	L&T/Schneider electric

- Change over switches	HPL/L&T

- Voltage Transformer	AE/Kappa or subject to approval by consultant and owner

- Current Transformer	AE/Kappa. or subject to approval by consultant and owner

- R.C.C.B.	Legrand / Schneider electric/ L&T

- Timers	L&T /Schneider electric

- Push Buttons	L&T /Schneider electric or subject to approval by consultant and owner

- Indicating lamps	L&T /Schneider electric /  or subject to approval by consultant and owner

- Fuses and fuse bases	L&T /Schneider electric

- Digital Meters	Conzerv/L&T/AE

- Selector switches and rotary switches	L&T/Kaycee.

- Indicating Instruments	Conserve/L&T/AE

- Terminals	Elmex

- PVC FRLS insulated copper wires	Polycab/Havells/RR KABEL – Premium topmost quality of wires of these brands must be used

- Crimping type lugs	Dowells

- Cable Glands	Dowells

- PVC rigid conduits	BEC/AKG/Atul

- M.S Conduits (ISI Mark)	BEC/AKG/Atul

- Modular Switches, Sockets, Plugs etc.	HAVELLS SIGNIA OR PRE APPROVED EQUIVALENT IN LEGRAND

- Industrial sockets in sheet steel enclosure	L&T /Schneider electric / Legrand / Havells

- Light Fitting  	Philips , Havells – Premium Lights to be used

- Ceiling fans/Exhaust Fans	CGL/alstom

- Relays	Areva/Easun & Reyrolle/L&T

- HT/LT Cables	Polycab/Havells/RR KABEL - Premium topmost quality of wires of these brands must be used

- Capacitors	Epcos / L&T/Schneider electric

- Cable Trays / Raceways	As / approved samples

- Battery	Exide/Standard

- Battery charger	Volstat/AE/Mahamai

- Telephone Wires/cables	Polycab / Havells

- Data Cables / accessories	D-Link

- Fire alarm system                                            Daksh

- CCTV                                                             Daksh

- Video Door Phone                                          Fermax/Alba/Zaicon/Honey well