List of  approved Makes /Brands( Plumbing /Sanitary) unless other wise specified

| S.N | Materials | I.S:No | Brand Name |
| --- | --- | --- | --- |
| 1. | Vitreous China Sanitaryware (1st class quality) | 2556 | JAQUAR |
|  |  |  | KOHLER |
| 2. | Plastic W.C Seats |  | JAQUAR |
|  |  |  | KOHLER |
| 3. | C.P fittings |  | JAQUAR |
|  |  |  | KOHLER |
| 4. | C.P Bottle Trap |  | KOHLER |
|  |  |  | JAQUAR |
| 5. | Stainless Steel Sink |  | NIRALI |
|  |  |  | AMC |
|  |  |  | KINGSTON |
|  |  |  | NEELKANT |
| 6. | Bath Room C.P accessories |  | JAQUAR, ESS ESS |
|  |  |  | PARKO |
|  |  |  | GEM |
| 7 | GI and MS pipes upto 150 dia | 1239 | Jindal Hissar |
|  |  |  | SURYA PRAKASH |
|  |  |  | KAPILANSH |
| 8. | Sand Cast Iron Pipes & fittings | 1729 | NECO |
|  |  |  | KAJECO |
| 9. | G.I. Fittings (Malleable Cast Iron) | 1879 (Part I to X) | UNIK |
|  |  |  | KS |
|  |  |  | KENT |
| 10. | CPVC Pipe & Fittings | DIN 8077 and DIN 8078 | ASTRAL ,SUPREME |
|  |  |  | PRINCE |
| 11 | Stoneware pipes & Gully traps | 651 | PERFECT Or Eqv. |
| 12 | R.C.C pipes | 458 |  |
| 13 | CILA S/S pipes | 1536 | KESORAM |
|  |  |  | IISCO |
|  |  |  | ELECTROSTEEL |
| 14 | C.I. fittings | 1538 | NEEL |
|  |  |  | KARTAR |
| 15 | UPVC pipes for rain water pipes | 4985-1981 | POLYPACK |
|  |  |  | FINOLEX |
|  |  |  | SUPREME |
| 16 | Gunmetal Valve (Fullway valve) | 778 |  |
|  | (a) Class–I |  | ZOLOTO |
|  |  |  | LEADER |
|  |  |  | SANT |
|  | (b) Class-II |  | LEADER |
|  |  |  | SANT |
| 17 | Ball valve |  | RB |
|  |  |  | CIM |
|  |  |  | IBP |
| 18 | Butterfly Valve | 13095-1991 | KARTAR |
|  |  |  | KSB |
|  |  |  | CASTLE |
| 19 | Air Release Valve |  | KIRLOSKAR |
|  |  |  | IVC |
| 20 | Pressure Reducing Valve |  | ZOLOTO Or Eqv. |
| 21 | C.I double flanged sluice valve | 780 | KIRLOSKAR |
|  |  |  | LEADER |
| 22 | C.I double flanged non return valves (65mm dia and above) | 5312 | KIRLOSKAR |
|  |  |  | LEADER |
| 23 | Water Meter |  | KENT |
| 24 | Float valve (gunmetal) upto 40mm |  | LEADER |
|  |  |  | SANT |
| 25 | Float valve (C.I) 50mm and above |  | IVC |
|  |  |  | LEADER |
| 26 | C.I Manholes cover | 1726 | NECO Or Eqv. |
| 27 | SFRC Grating/Manhole Cover |  | KK Or Equivalent |
| 28 | Plastic Encapsulated Foot Rungs |  | KGM Or Equivalent |
| 28 | Bib & stop cocks (brass) | 781 | JAQUAR |
|  |  |  | KOHLER |
| 29 | Mirror |  | MODI |
|  |  |  | SAINT GOBAIN |
| 30 | Grating for Floor Trap & Floor Drain |  | GMGR |
| (a) | Cast Iron |  | LEADER |
|  |  |  | ZOLOTO |
| (b) | Gunmetal |  | RB |
|  |  |  | CIM |
|  |  |  | IBP |
| 31 | Water Flow Meter |  | KENT |
| 32 | Pumps |  | Kirlsokar, CROMPTON |
| 33 | Solar panels and systems |  | Tata , Su-Kam, Solahart , Bhel |